Product Descriptions

MetraHit Energy Digital Multimeter

High-End Digital Multimeter with Power and Energy Measurement

The new, professional METRAHIT ENERGY multimeter is exceeding all previous performance limits.

Thanks to simultaneous TRMS current and voltage measurement (AC, AC+DC and DC) with a resolution of 60,000 digits, all important power quantities can be precisely acquired.

High-end, handheld, digital multimeter including

RMS measurement with the following and more: V AC TRMS, V AC+DC TRMS 100 kHz with bandwidth, V DC, dB, Hz (V), Hz (A), Ω, μF, V diode, °C / F (TC / RTD)

Power measurement (W, VAr, VA, PF): active, reactive and apparent power with extreme values, power factor

Energy measurement (Wh, VArh, VAh) active, reactive and apparent energy, mean power value with adjustable observation period and maximum value

Mains quality analysis: recording of over and undervoltage, dips, swells, voltage peaks and transients in 0, 50 and 60 Hz systems

Harmonic analysis: RMS values and distortion components up to the 15th harmonic at 16.7, 50, 60 and 400 Hz

Special measuring functions:

Crest factor (CF), conductivity (nS), low impedance (RSL), duty cycle (%), cable length (km)

Triple display, display illumination can be activated for difficult lighting conditions

Resolution: 60,000 digits (4 6/7 place)

1 kHz / -3 dB low-pass filter can be activated

Direct current measurement from 10 nA to 10 A, 16 A intermittently,

current measurement with current clamp transformers and sensors, transformation ratio is taken into account at the display

Measurement data memory for up to 300,000 measured values

Instrument is fully remote controllable without activating the rotary switch or changing current sockets

Product Code: M249A