Product Descriptions

DUSPOL Epert 1000 Voltage Tester

Suitable for electrical engineering, industry, maintenance and service (troubleshooting)

- Voltage from 12 - 1000 V AC/DC (LED)

- Display levels: 12, 24, 50, 120, 230, 400, 690, 1000 V AC/DC

- Optical continuity test up to 100 kΩ (yellow LED)

- Phase sequence test (green LED) / phase test (red LED), polarity test (LED)

- Direct display without key acknowledgment (high impedance testing)

- Load switched via pushbutton (high impedance testing)

- Intentional tripping of the RCCB

- Vibration alarm in the tester handle

- Measurement point illumination can be activated

- IP65 protection (dust-proof / protected against water jets)

- Rugged housing design with rubberized handle

- Overvoltage category: CAT IV 600 V, CAT III 1000 V

- Includes two 1.5 V AAA batteries (LR03) (voltage display as of 50 V even with dead batteries!)

- Tested and approved in accordance with DIN EN 61243-3, VDE 0682-401:2011-02

Product Code: M611E