Product Descriptions

Metraline DM41 Multimeter

Universal Digital Multimeter with Temperature and Duty Cycle Measurement

The auto-ranging multimeter for use in all fields of electrical engineering, e.g. electrical installation, study programs and training.

The METRALINE DM41 offers all of the measuring functions of a comprehensive, medium-priced multimeter: convincing technology with voltage, resistance, current and temperature measuring ranges, as well as additional measuring functions plus automatic functions such as frequency and duty cycle measurement.

Product Highlights

- Temperature and duty cycle measurement

- Automatic blocking sockets (ABS)

Your Advantages

- Universal use in all fields of electrical engineering!

- Measurement with digital display (4000 digits)

- Measurement of voltage and current, AC and DC, resistance, temperature, frequency, duty cycle, capacitance, continuity/diodes

- Automatic measuring range selection and measured value storage

- Safety for the user and the instrument in measuring categories CAT III up to 600 V and CAT IV up to 300 V.

Product Code: M192A