Product Descriptions

Metraline DM61 Multimeter

Digital Multimeter with Analog Bar Graph and Temperature Measurement

The auto-ranging multimeter for use in all fields of electrical engineering, e.g. electrical installation, study programs and training.

The METRALINE DM61 offers all of the measuring functions of a comprehensive, medium-priced multimeter: convincing technology with voltage, resistance, current and temperature measuring ranges, as well as additional measuring functions plus automatic functions such as an adjustable clip factor for current transformers.

Product Highlights

- 1000:1 clip function for optional current transformers

- Automatic blocking sockets (ABS)

Your Advantages

- Universal use in all fields of electrical engineering!

- Measured value indication with digital display (6600 digits) and analog scale

- Measurement of voltage and current, AC and DC, resistance, temperature, continuity/diodes

- Current measurement up to 660 A via current clamp transformer with a transformation ratio of 1000:1

- Automatic measuring range selection and measured value storage

- Safety for the user and the instrument in measuring categories CAT III up to 600 V and CAT IV up to 300 V

Product Code: M194A