Product Descriptions

CEM DT-191A Temperature/Humidity Dataloggers

Plug-PDF Temperature/Humidity dataloggers

DT-191 series Plug-PDF Temperature/Humidity datalogger can monitor temperature and humidity values effi ciently and conveniently for long time by using the Datalogger.

The readings are saved in the logger and simply read out by your PC with USB interface.

| Specifications |
| --- |
|  | DT-191A |
| Temp. range | -40 to 70℃/ -40 to 158℉ |
| Temp. accuracy | ±1℃/1.8℉ |
| Temp. resolution | 0.1℃/0.1℉ |
| Humidity range | 0 to 100%RH |
| Humidity accuracy | ±3.5%RH |
| Humidity resolution | 0.1%RH |
| Air pressure range |  |
| Air pressure accuracy |  |
| Air pressure resolution |  |
| Memory | 40020(20010 / channel) |
| Sample rate | 1min-24 hours |
| Battery life | 1years（Sample rate 1minute） |
| PDF report | Immediately USB fl ash disk PDF report |
| Analysis software | Windows XP/Vista/win7/win8/win10 |

| Features |
| --- |
|  | DT-191A |
| Temperature datalogger |  |
| Temperature and humidity datalogger | * |
| Temperature and air pressure datalogger |  |
| Immediately USB fl ash disk PDF report | * |
| Freely selectable sample rate 1 min to 24h | * |
| LCD Max Min display | * |
| Download collected data through USB interface | * |
| Battery life :up to 1 years (1 minutes sample rate ) | * |
| Alarm display if user-defi ned maximum/minimum value exceed | * |
| Analysis software used to view graph for logging data | * |

Size(HxWxD): 75mm x 35mm x 16mm

Weight: 50g

Product Code: DT-191A