Product Descriptions

DT 9052 Earth and Continuity Tester

Principle of measurement by "fault loop" for installations with neutral as per diagram indication Earth loop measurement current less than the drop-out threshold of the 30mA circuit breakers Measurement of the earth resistance by 3 1/2 digit display from 0 to 1999Ω (resolution 1Ω measurement updated every 1.5s)

Two-colour back-lit LCD display

IEC 61010-1 EN 61557-4

Installation category III

Class II IP40 ,IK06