Product Descriptions

KC27 Kelvin Probe

Kelvin probes are used for connecting low impedance resistors (e.g. contact resistors, shunts etc.) to an ohmmeter with 4-wire connection. This allows for compensation of cable resistance. KC27 consists of 2 probes with stainless steel tips.