Product Descriptions

MetraClip 63 Milliampere Current Clamp

Milliampere Current Clamp for Measuring Fault and Process Signal Current

The milliampere clamp is very well suited for the measurement of small direct and alternating currents as of a value of 1 mA.

It's equipped with a power saving circuit, a data interface, indication of exceeded measuring ranges and a flexible current sensor, and can be used even under very unfavorable mechanical conditions.

Measuring ranges:

- DC 100 mA / 1000 mA

- - AC 100 mA / 1000 mA / 10 A

- Switching back and forth between DC and AC measurements

- Zero balancing for DC measurements

- Measured value storage (DATA HOLD)

- Power saving circuit

- Current clamp with 1.2 meter cable length

- Clip opening 5 mm Ø

Analog output (0 ... 100 mV)

- for connecting recorders, e. g. multimeters with memory

Product Code: M311G