Product Descriptions

MetraClip 410 TRMS Clamp Ammeters

AC-DC Current Clamp to 400 A

The METRACLIP 410 current clamp is used for precise contactless measurement of alternating and direct current, as well as complex current waveforms.

Ideal for electricians because both AC and DC can be measured - and current up to 300 A in accordance with the requirements specified in "guidelines for equipment required for electrical installation operations.

- TRMS value display

- 1 mA / 10 mA resolution

- Auto-ranging

- Automatic zero balancing

- Automatic shutdown

- Data hold

- 25 mm clamp opening

- METRACLIP 41: accurate current measurement from 5 mA to 40 A

- METRACLIP 410: accurate current measurement from 100 mA to 400 A