Product Descriptions

DT-6605 High Voltage Insulation Tester

Wide range measurements from 500V to 5000V and up to 60GΩ.

Large 6000 counts digital display with bargraph and backlight.

Polarization index measurement(PI).

Auto ranging & Timer measurement function.

Indication of output voltage and discharge voltage.

Auto-discharge function and voltage output warning function.

Auto power off and battery check.

MAX/MIN, PEAK, Relative value & Data hold functions for DC/AC voltage measurments

Safety standard IEC61010-1 CAT IV 600V