Product Descriptions

KE8000 Optical Power Meter

The optical power meter KE8000 belongs to the new generation of high-performance instruments for the testing of optical networks and allows a quick check of the fibre power and loss.

- Attenuation measurement from 800 - 1700 nm, range from -70 to +3 dBm

- For mono-and multi-mode fibres

- Absolute power measurement in dBm

- Variable measuring adapter system

- Backlight LCD

Product Code: KE8000