Product Descriptions

DT-9054 Digital RCD Tester

The digital RCD tester is used to test and measure the function parameters of residual current devices (RCDs) in 230-V power grids. Both the trigger time and the tripping current can be detected as the safety-related parameters of RCD switches

- Mains voltage indicator

- PE/L indicator

- Fault voltage indicator (contact voltage)

- Circuit breaker test with a defined error current (10 - 650 mA), tripping time, triggered at negative/positive half-wave, normal/delayed (selective, trigger test time up to 30 s), ramp test

- Striking optical results by changing the color of the display backlight

- Also for testing safety switches

- Confirms to EN 61010-1, CAT-III 600V.

Product Code: DT-9054