Product Descriptions

CEM DT-129 Moisture Meters

DT-129 is a conductivity moisture instrument designed for use in wood, used to measure the moisture level in sawn timber (also cardboard, paper) and hardened materials (plaster, concrete and mortar). They display the moisture level. The instruments have an average adjustment for European wood based on a wood temperature of 20ºC.

Large LCD display

Automatically Temperature Corrected (ATC) Readings when used with the temperature probe

Readings with Moisture Probe or Hammer Electrode

Readings with Integral electrod Pins