Product Descriptions

CEM DT-9880 Particule Counter

Features:

2.8" TFT 320x240 pixels Color LCD display

Images(JPEG) & Video(3GP)

Simultaneously measure and display 6 channel of particle sizes, measure particle size down to 0.3 μm

Air temperature and humidity, Dewpoint & Wet bulb temperature

MicroSD (MAX. use 8GB) memory card, USB interface

Auto Power Off

Selectable sample time, count data, programmable delay

Store 5000 records of date, time, counts, relative humidity, temperature, sample volumes, alarms

Language selection English, Chinese, German

Product Code: DT-9880