Product Descriptions

DT-619 CMM/CFM Thermo-Anemometer

CFM/CMM Thermo-Anemometer

Max/Min/Avg value with relative time stamp

Low battery indication and Auto Power Off

Display Air Flow (CFM/CMM), or Air Velocity plus Temperature simultaneously

Features

- Simultaneous display of Air Flow or Air Velocity plus Ambient Temperature

- Easy to set Area dimensions (cm2) are stored in the meter´s internal memory for the next power on

- Resolution of 0.01m/sec

- 20 points average for Air Flow

- Super large LCD Backlit Display

- 3% velocity accuracy via low friction 2.83"D (72mm) ball bearing vane wheel on 3.9ft (120cm) cable

- High Sensitive and Accurate

Prodcut Code: D-619