Product Descriptions

CEM DT-3355 Earth Ground Clamp Meter

Large LCD display with backlight

Span of Jaw: 28mm for a long jaw; 32mm for a round jaw:

Protection Level: Double insulation

Structural Feature: In the jaw way

Range Shift: Automatic

External Magnetic Field: 40A/m

External Electric Field: 1V/m

Single Measuring Time: 1 second

Measurement Resistance Frequency: 1kHz

Maximum Resistance Measurement Resolution: 0.001 Ω

Resistance Measurement Range: 0.01-1000 Ω

Product Code: DT-3355