Product Descriptions

HTI HT-H8 Thermal Imager with WIFI (384x288)

HT H8 Thermal Imager with WIFI (384×288), real-time imaging on mobile devices.

Infrared Thermal Imaging Camera - This IR camera features a 3.5" full-view TFT screen that provides high-definition color clarity with maximum and minimum temperature ranges, current emissivity and other vital and measurable thermal data.

Quick-Access Selection Key - The all-in-one design features an easy-to-grip handle and a key operation system right below the screen to help you capture images, select color palettes, measure temperature range conversion, and manage captured images.

Residential and Industrial Use - With a measurement accuracy of ±3% this thermal imaging gun can be used in a variety of applications including HVAC heating and air, general electrician work, weather measurements, science and farming, and more.

Superior Color Clarity and Accuracy - The HT-series Hti thermal imaging camera lets you quickly swap between rainbow, iron oxide red, cold color, white heat and black heat to give you more accurate data and thermal information.

Note：To measure short-distance objects, and to measure long-distance objects, you must use different focal lengths, slowly rotate the lens, not too much in the same direction.

Specification

- Infrared image resolution：384×288

- Connect wifi to the live image on the phone.

- Field angle/shortest focus length：28.4°×21.4°/0.19m

- Display screen：3.5 ″ full angle TFT display screen

- Display screen resolution：640*480

- visible image resolution：300,000 pixel

- Thermal sensitivity：0.06℃

- Temperature measurement range：-20℃ to 550℃（-4°F to 1022°F）

- Measurement accuracy：±2% digital/±2℃

- Emissivity：Adjustable from 0.01 to 1.0

- Frame rate of thermal images：25Hz

- Wavelength coverage：8-14um

- Focus mode：Focal length adjustment

- Color palette：Rainbow, iron oxide red, cold color, black & white, white & black

- View option：The integration of thermal image with 25% step length and visible image.

- Storage medium：Built-in 3G (above 20 thousand image stored)

- File format：JPG

- USB：Micro USB 2.0

- Power supply：Built-in chargeable 26650 battery

- Automatic power-off time：Selectable: 5 minutes/20 minutes/ not power off automatically

- Product size(length × width × height)：97mm×129mm×256mm

- Work temperature：0℃to 45℃

- Storage temperature：-20℃ to 60℃

- Relative humidity：< 85%RH

Product Code: HT-H8