Product Descriptions

HTI HT-101 Mobile Phone Thermal Imager（220x160）

HTI HT-101 Mobile Phone Thermal Imager（220x160）

The device is connected with phone via USB,and check the imagers on APP.

Specification

- Resolution:220*160

- Working Temperature: -20～65℃

- Emissivity：Adjustable from 0.01 to 1.0

- Imager Onput Frame Rate:9Hz

- Operating Temperature: 0～50℃

- Operating Humidity: 10%～80%RH

- Power Supply:Offered by phone

- Wavelength range:7.5μm~14μm

- Measure range: 30m

- Temperature range: -40～330℃

- Image Stroage: Cell Pwore

- Fov/Shortest focal length:35

- App screen with multiple measure maye

- Support Android 4.3above (with OTG function)

- Palette:white/black/rainbow/iron coloy

- Interface Type: micro usb/type-c

Product Code: HT-101