Product Descriptions

CEM AC-6H Non-Contact AC Voltage Detectors

CEM AC-6H Non-Contact AC Voltage Detectors

Operation range: 50 - 1000V

Voltage sensitivity detector: Dual

Red, green LED indicators

Beeper sounds

Auto power off

Low battery self test

Power ON/OFF switch

Switchable audible and silent mode

CAT IV 1000V

Rugged, double molded case

Product Code: AC-6H