Product Descriptions

PEL-8150 Programmable Electronic Load (150W)

PEL-8150 Programmable Electronic Load (150W) is a new generation DC electronic load model.

General features

- CC, CV, CR, CP, short circuit, dynamic and other working modes

- High voltage, high current, high power, overheat and reverse polarity protection

- High-brightness VFD display simultaneously displays voltage, current and power

- 0.1% high accuracy

- Supports external trigger input and output

- Easier use thanks to automatic test function setting

- RS-232 interface. Optional dedicated communication line for communication with computer

Technical specifications

- Power: 150W

- Current: 0-30A

- Voltage: 0-150V

For detailed technical specification, please refer to the technical document in the files tab.

Product Code: PEL-8150