Product Descriptions

CEM DT-926A TRMS Digital Multimeter

The CEM DT-926A TRMS Digital Multimeter offers all the measurement options you need with TRMS at an affordable price.

It's small dimensions provide the advantage of use and are suitable for many sectors.

General Features

- 2.000 digit large LCD display

- TRMS measurement feature

- Manual range selection

- Diode and continuity test

- auto shut off

- Data hold feature

- 1.5V and 9V battery test

- Protection feature in all ranges

- 2 meters drop test

Technical specifications

- AC/DC Voltage: 600V

- AC/DC Current: 10A

- Resistance: 2MOhm

- Dimensions: 151 x 75 x 45 mm

- Weight: 255g.

Product Code: DT-962A