Product Descriptions

CEM DT-960 TRMS Digital Multimeter

The CEM DT-960 TRMS Digital Multimeter offers all the measurement options you need with TRMS at an affordable price.

General Features

- 4,000 digit large LCD display

- TRMS measurement feature

- Safe and robust design

- Automatic range selection

- Data hold, Max and Min feature

- Flashlight and screen lighting feature

- auto shut off

- Diode and continuity test

Technical Specifications

- AC/DC Voltage: 600V

- AC/DC Current: 10A

- Resistance: 40MOhm

- Capacitance: 4000µF

- Frequency: 10kHz

- Duty cycle: 99.9%

Product Code: DT-960