Product Descriptions

Metraline ZCheck Loop Resistance Tester

The test instrument is used to measure earth-fault loop impedances and line impedances.

Product Highlights

- Table of common protective devices can be displayed

- Digital display, backlit color OLED display, switching between brief and detailed representation

- LED for measurement point illumination

- Patented test probe retainer

- Compact and rugged - for service calls under harsh conditions and laboratory use

Technical characteristics

The measuring range of 0 to 200 Ω (0.27 Ω to 200 Ω per VDE 0413 / EN 61557) permits calculation of short-circuit current from 0 to 23 kA.

The following measurements can be performed with the METRALINE Z-CHECK:

- Fault loop impedance with short-circuit current

- Fault loop impedance with short-circuit current without tripping the RCCB

- Line impedance with short-circuit current

- Line voltage - Phase detection

Product Code: M507A