Product Descriptions

LA-1012 Cable Locator

This is a professional general-purpose cable locator. It is ideal for tracing cables in walls and underground, locating fuses, breakers on final circuits and locating interruptions and short-circuits in cables and electrical floor heating systems. It can also be used for tracing metallic water and heating popes. The unit is supplied as a complete kit comprising of a transmitter and received in a hard carrying case. The received also incorporates a torch function for working on dimly lit locations.

Features

- For all applications (live or dead cables) without additional instruments

- Set includes a transmitter and a receiver

- Proven digitally coded sender signal guarantees clear signal identification

- Transmitter with LCD-display for transmitting level, transmitting code and external voltage

- Receiver with backlight LCD-display for level of receiving signal, code of receiving signal and live voltage indication

- Automatic or manual adjustment of receiving signal sensitivity

- Acoustical receiving signal switchable

- Auto Power Off

- Additional torch lamp function for working in dark environment

- Additional transmitters are available for extension of to distinguish between several signals

- Confirms to EN 61010-1, CAT III 300V

Product Code: LA-1012