Product Descriptions

DT-5301 LOOP/PSC Tester

Custom microprocessor controlled for highest accuracy and reliability

3 LEDs for checking correct wiring status

15mA LOOP measurement: LOOP impedance 2000Ω range measurement

is carried out with low test current(15mA)

Direct reading of Prospective Short Circuit Current(PSC)

Safe voltage measurement function

Large custom digital display readout on all models

Measure low loop resistance(resolution of 0.01Ω)

Automatic lock-out if test resister overheats

Visual indication of reversed phase and neutral wiring at socket

Product code: DT-5301