Product Descriptions

DT-9030 Voltage Tester

Rugged High Quality Electrical Testers to provide fast, accurate, safe test results

All electricians need a two-pole tester. Experienced professionals know that they can—and should–trust their job, their reputation and even their personal safety to these electrical testers.. Built with state-of-the art measurement and safety technology, these testers offer everything you expect from us, and a little bit more.

Features

- Rugged, high-quality construction is built to last. This includes a heavy-duty molded case, a thick cord, sturdy battery case, and well fitting and durable probe attachment.

- Fast test results, with large, easy-to-use buttons, bright backlights, and clear audible and physical indicators designed for any work situation.

- Ergonomic design feels good in your hand, is easy to use (even with gloves on) and quick, secure probe docking.

- Compliant with IEC EN 61326, EN: 61010-1, EN: 61243, CAT III 1000V, IP-67 Protection

- Test compliant with TUV and GS

- 1999 Counts LCD Display with analog bar graph

- Auto detection of AC/DC Voltage

- Polarity Detection

- Rotary Field Indication (Phase rotation)

- Built-in Flash light to access dark areas

- Self Test Function

- Voltage Range: 12, 24, 36, 50, 120, 230, 400, 690 V AC/DC

- AC Frequency Range for Measuring voltage: 50/60Hz

- Low Input Impedance

Product Code: DT-9030