Product Descriptions

MST-8101 Programmable Electrical Safety Tester

- 4.3-inch TFT color screen display, clear at a glance

- 105 test files can be compiled, and 25 test steps can be set for each file

- Current resolution up to 0.1μA, accurate

- Automatic discharge function after the test is over

- 100VA capacity

Technical Specifications

- AC voltage test range: 0.050 - 5.000 kV

- Test time setting: 0.1 - 999.9 s

- Device protocol: SCPI and Modbus

Product Code: MST-8101