Product Descriptions

ERT-S Earth Resistance Tester

The Earth Resistance Tester is developed for measuring earth resistance, possibly with the use of a special current clamp for measuring the soil resistivity on LVinstallations according the EN 61577 regulation.

Following tests

2-Point earth resistance

3-Point earth resistance

4-Point earth resistance

Earth resistance by current clamp (‘Utility method)

Soil resistivity (‘Wenner' method)

The integrated ‘Utility'- measurement is especially designed for measuring partial earth resistance at parallel earth connections. This is being done by using a current clamp. This clamp is optional (ERT-a7). The ERT-S has an internal memory of 500 locations for storage of the measured values. These stored values can easily be transferred to a PC (via the RS232 port).

Including

Test lead green

Test lead red

Test lead blue

Test lead black

Earth pins

Cable support

Manual

Product Code: ERT-S