Product Descriptions

GEOHM 5-Set Ground Resistance Tester

Earth tester for all known measuring methods.

Per DIN VDE 0413, part 5, for measuring earth resistance.

This instrument can also be used to ascertain or measure soil resistivity and ohmic resistance in accordance with the current-voltage measuring method.

Measurement of:

- Earth resistance

- Selective earth resistance

- Soil resistivity

- Current (TRMS) via clamp meter (optional)

- Three or four-pole measuring method

- 1-Clamp Measurement (optional)

- 2-Clamp Measurement (optional)

- Digital display

- Robust housing

- No balancing required

- Continuous monitoring of interference voltage and auxiliary earth electrode resistance with indication if allowable limit values are violated

- Data storage for 250 measurements (1000 measured values)

- Data interface for transmission of measured values to a PC

- Software (optional accessory) for measured value storage at a PC

Scope of delivery:

- Black test cable, 4 meters

- Green test cable, 4 meters

- Red test cable, 15 meters

- Blue test cable, 20 meters

- 4 earth spikes

- Battery charger with 4 batteries

- LINK-G software

- Carrying strap

- Stackable system case

GEOHM 5 Product Code: M591B-02