Product Descriptions

CEM DT-320 TRMS 3000A AC Flexible Clamp Meter

CEM DT-320 TRMS 3000A AC Flexible Clamp Meter is an advanced pensammeter with True RMS feature and flexible clamp tip up to 3000A AC.

Thanks to the 457mm (18") flexible clamp cable length, you can take measurements on any cable without any problems.

It automatically switches between 30.00A, 300.0A and 3.000A measurement ranges and displays the result quickly and most precisely with large numbers on the 3.000 digit LCD screen. The illuminated display provides ease of reading.

The data hold and MAX/MIN feature offers functionality in terms of use.

The 7.5mm cable diameter makes it easy to measure in tight spaces.

Special design for one-handed operation and low battery indicator ensures that your work is not left unfinished.

General Features

- Data hold and MAX/MIN

- 3,000 digit backlit LCD display

- 457mm flexible collet cable length

- 7.5mm flexible collet cable diameter

- Low battery indicator

- CAT IV 600V / CAT III 1,000V safety standard

Technical Specifications

- Current: 0 - 3000A

- Resulation: Max 0.01A

- Doğruluk: ± (3.0% + 5d) (best)

- Freq: 50 - 400 Hz TRMS

- Dimensions: 180 x 106 x 28 mm

- Weight: 200 grams

Please look the file section for more technical info.

Product Code: DT-320