Product Descriptions

MetraHit AM-Base Digital Multimeter

MetraHit AM-Base, TRMS digital multimeter with a resolution of 12,000 digits.

- 3 connector jacks with patended automatic blocking sockets (ABS)

- Large, illuminated display with character height of 15mm and quasi-analog display

- Voltage measurement with a basic accuracy of +/- 0.05% (Vdc)

- Measuring category: 1000V CAT III and 600V CAT IV, IP 52 protection

- Automatic torage of measured values: DATA/Min/Max

- Clip factor: 1:1/10/100/1000 for current sensors

Functions

- 1000V Voltage (AC, DC, AC+DC)

- Current (AC, DC, AC+DC with clamp)

- 40MOhm

- Temperature

- Continuty, diode

- 100kHz

Scope of Delivery

- KS17-2 measurement cale set

- 2x 1.5V AA batteries

- DAkkS calibration certificate

- Operating instructions (condensed and CD)

Product Code: M241A