Product Descriptions

MetraHit Especial Digital Multimeter

High-End TRMS Digital Multimeter, System Compatible with IR Interface, Resolution of ± 60,000 Digits - 21 Multimeter Functions

- 3 connector jacks with patended automatic blocking sockets (ABS)

- DAkkS calibration certificate included in scope of delivery

- Large, illuminated display with 15mm character height

- TRMS AC, AC+DC function

- Measuring category: 1000V CAT III and 600V CAT IV, IP 52 protection

- IR interface for system integration

Functions

- 1000V Voltage (AC, DC, AC+DC)

- 10A Current (AC, DC, AC+DC)

- 60MOhm

- 600Hz - 300kHz frequency range

- Temp. measurement (K-type probe)

- Continuty, diode

- Data / Min-Max

- 60,000 digit

- 20kHz band width

- Automatic blocking sockets (ABS)

- DAkkS calibration certificate

- IP52 protection

- Software option: MetraWin10

Scope of Delivery

- HC20 hard case

- Rubber holster

- KS17-2 measurement cable set

- DAkkS calibration certificate

- 2x 1.5V AA batteries

- Operating instructions (condensed and CD)

Product Code: M252A